## Parts for Analog Labs
Learning the Art of Electronics
Parts List, Analog Labs 1 to 13 |  |  | We have chosen the most common Mfgr. part number but in many instances parts with different sufixes will work as well.
Updated 2/10/2024 |  |  | For example, the LM358P is the cheapest choice but the LM358AP, LM358AN or LM358PE3 all can be substituted.
Indicates same part is on Digital Parts List |  |  | You can also use a different manufacturer's part. Many parts are made by multiple companies and all are identical.
For example, ON Semiconductor also makes the LM358 as a LM358S.
Description | Detail (pkg, etc.) | Qty Needed | Mfgr. | Part No (exact) | Source | Distributor Part No | Price (Qty 1) $US | Qty Price $US | Qty | Notes | Alternate Source 1 | Alternate Source 2 | Alternate Source 3
TRANSFORMERS and INDUCTORS
Transformer, 115V Primary, 6.3V Secondary Center Tapped, 1.2A |  | 1 | Triad | F-14X | Digikey | 237-1917-ND | 11.05 | 197.5 | 25 pieces | 115V/230V can be deadly. Be sure to insulate the primary leads before using the transformer with line voltage in Chapters 2L and 3L. | Octopart Listing
Transformer, audio isolation, 600:600 Ohm, 1:1, EI-14 or equivalent |  | see notes |  |  | Amazon |  |  | 6.99 | 10 pieces | Used in Lab 3L.2 if you cannot float your function generator. Also available on eBay and Aliexpress - search for "EI-14 1:1 transformer" |  | DigiKey
Inductor, 10mH, Wirewound, 85mA, 24 Ohm | Radial | 1 | Murata Power | 13R106C | Digikey | 811-2058-ND | 0.59 | 14.5 | 25 pieces |  | Octopart Listing
Inductor, 100uH, Wirewound, 2.1A | Radial | 1 | Abracon | AIUR-06-101K | Digikey | AIUR-06-101K-ND | 0.97 | 20.5 | 25 pieces |  | Octopart Listing
Ferrite Bead, 4.6mm OD, 1.5mm ID, 4.3mm long |  | 2 | Kemet | B-20F-46 | Digikey | 399-10820-ND | 0.44 | 7.5 | 25 pieces |  | Octopart Listing
SWITCHES
Pushbutton Switch, SPST, Breadboard Compatible |  | 1 | Omron | B3F-6000 | Digikey | SW263CT-ND | 0.1 | 9.25 | 25 pieces | An alternate is the APEM MJTP1212. This is a larger tactile pushbutton. $0.41 from Digikey. | Octopart Listing
AUDIO DEVICES
Microphone, Electret, Omni-Directional |  | 1 | PUI Audio | AOM-6738P-R | Digikey | 668-1296-ND | 1.02 | 19.5 | 25 pieces |  | Octopart Listing | Adafruit
Speaker, 8 Ohm |  | 1 | Adafruit | 1314 | Digikey | 1528-2435-ND | 1.95 |  |  | Any 8 Ohm speaker may be used. We like the Pyle PCB4BK for general audio use in our lab. | Adafruit | Adafruit
DISCRETE SEMICONDUCTORS: DIODES
1N5817, Schottky Diode, 1A | DO-41 | 2 | Micro Commerical | 1N5817-TP | Digikey | 1N5817-TPCT-ND | 0.27 | 11 | 100 pieces |  | Octopart Listing
1N5711, Schottky Diode, 430W, 15mA, Low Capacitance | DO-35 | 2 | STMicroelectronics | 1N5711 | Digikey | 497-2499-1-ND | 0.31 | 5.5 | 25 pieces | Used in Chapter 24S. Any small signal Schottky diode should work. | Octopart Listing
1N914/1N4148, Silicon Diode, 100V, 300mA, Fast Recovery | DO-35 | 2 | Onsemi | 1N4148 | Digikey | 1N4148FS-ND | 0.09 | 4 | 100 pieces | Available from many manufacturers. 1N4148 and 1N914 are equivalent. | Octopart Listing
1N4004, Silicon Rectifier, 400V, 1A | DO-41 | 2 | Comchip Tech. | 1N4004B-G | Digikey | 641-1999-ND | 0.18 | 8 | 100 pieces | Available from many manufacturers. Any part no. from 1N4004 (400V) through 1N4007 (1000V) will work. Used with analog panel meter. | Octopart Listing
1N5223, Zener Diode, 2.7V, 500mW | DO-35 | 1 | Onsemi | 1N5223B | Digikey | 1N5232B-ND | 0.18 | 8.72 | 100 pieces | Used in diode curve tracing lab. Any 1.8V to 3V zener diode will work. | Octopart Listing
1N5232, Zener Diode, 5.6V, 500mW (1N752 equivalent) | DO-35 | 1 | Onsemi | 1N5232B | Digikey | 1N5232B-ND | 0.14 | 7 | 100 pieces | Available from many manufacturers. Any 500mW or 1W, 5.6V zener diode will work. | Octopart Listing
1N5294, JFET Current Source Diode, 0.75mA | DO-35 | 2 | Solid State | 1N5294 | Digikey | 2383-1N5294-ND | 2.25 |  |  | Digikey marketplace product. Two required for BJT II Lab. | Newark
DISCRETE SEMICONDUCTORS: BIPOLAR TRANSISTORS
2N3904, Small-Signal, NPN, 40V, 200mA, 625mW | TO-92 | 4 | Central Semi. | 2N3904 PBFREE | Digikey | 1514-2N3904PBFREE-ND | 0.38 | 18 | 100 pieces | Available from many manufacturers. | Octopart Listing | Digikey | Digikey
2N3906, Small-Signal, PNP, 40V, 200mA, 625mW | TO-92 | 4 | Comchip Tech. | 2N3906-G | Digikey | 641-1946-ND | 0.28 | 12 | 100 pieces | Available from many manufacturers. | Octopart Listing | Digikey
MJE3055, Power BJT, NPN, 60V, 10A, 125W | TO-220 | 2 | Onsemi | MJE3055TG | Mouser | 863-MJE3055TG | 0.94 | 8.41 | 10 pieces | Available from many manufacturers. | Octopart Listing | Digikey | Newark
MJE2955, Power BJT, PNP, 60V, 10A, 125W | TO-220 | 2 | Onsemi | MJE2955TG | Mouser | 863-MJE2955TG | 1.06 | 9.58 | 10 pieces | Available from many manufacturers. | Octopart Listing | Digikey | Newark
CA3069, BJT Array, 3 NPN, 2 PNP | 16 pin DIP | 1 | Intersil | CA3096E | Walmart | See notes | 10.95 |  |  | Also try eBay or google shopping. HFA3096 will not work. 16-SOIC version from Digikey (2156-CA3096CM96-ND) with 333 minimum qty | eBay | Octopart Listing
DISCRETE SEMICONDUCTORS: FIELD EFFECT TRANSISTORS
MOSFET, Small Signal, P-Channel, ZVP3306A | TO-92 | 4 | Diodes Inc | ZVP3306A | Digikey | ZVP3306A-ND | 0.69 | 46 | 100 pieces | Any small signal P-Chanel MOSFET with Vgs(th) of approximately -1.5V to -3.5V such as the BS250P should work. The TP2104 is also a good alternative. | Octopart Listing
IRLZ34, Power MOSFET, N-Channel, 55V, 30A, 68W, Vgs(th) 1V to 2V | TO-220 | 1 | Vishay | IRLZ34PBF | Digikey | IRLZ34PBF-ND | 1.86 | 74.85 | 50 pieces | Any N-Channel power MOSFET with a max Vgs(th) of 2.7 volts to work with 3.3V logic could be used. | Octopart Listing | Newark
IRL2505PBF, Power MOSFET, N-Channel, 55V, 104A, 200W, Vgs(th) 1V to 2V | TO-220 | 1 | Infineon | IRL2505PBF | Digikey | IRL2505PBF-ND | 2.65 | 23.7 | 10 pieces | Substitute for BUK9509-40B
CD4007, MOSFET Array, dual complementary pair w/ inverter | 14 pin DIP | 1 | Texas Inst | CD4007UBE | Digikey | 296-3501-5-ND | 0.54 | 11 | 25 pieces | RCA CA3600E is equivalent. | Octopart Listing
2N5485, Small Signal JFET, N-Channel, 25V, 30mA, 350mW | TO-92 | 1 | Central Semi. | 2N5458 PBFREE | Mouser | 610-2N5458 | 1.2 | 10.8 | 10 pieces |  | Octopart Listing | Master
DISCRETE SEMICONDUCTORS: OTHER
MCR218, SCR, 200V, 8A | TO-220 | 1 | Littlefuse | MCR218-4G | Digikey | CR218-4GOS-ND | 1.39 | 12.4 | 10 pieces |  | Octopart Listing
INTEGRATED CIRCUITS: OP AMPS
LF411, Op Amp, JFET input, 50pA Ibias, 3MHz | 8 pin DIP | 2 | Texas Inst | LF411CP | Digikey | 296-26079-5-ND | 1.57 | 33.25 | 25 pieces |  | Octopart Listing | Texas Inst
LM741, Op Amp, Bipolar, 1.5Mhz | 8 pin DIP | 2 | Texas Inst | LM741CN/NOPB | Digikey | LM741CNNS/NOPB-ND | 0.76 | 16 | 25 pieces |  | Octopart Listing | Texas Inst
LM358, Dual Op Amp, Single/Dual Supply | 8 pin DIP | 3 | Texas Inst | LM358P | Digikey | 296-1395-5-ND | 0.37 | 6.75 | 25 pieces |  | Octopart Listing
LMC6482, Dual Op Amp, CMOS, Ibias 20fA, Rail-to-Rail, Single Supply | 8 pin DIP | 1 | Texas Inst | LMC6482AIN/NOPB | Digikey | LMC6482AIN/NOPB-ND | 4.47 | 40.1 | 10 pieces |  | Octopart Listing | Texas Inst
LMC622, Dual Op Amp, CMOS, Ibias 20fA, Rail-to-Rail, Single Supply | 8 pin DIP | see notes | Texas Inst | LMC662CN/NOPB | Digikey | LMC662CN/NOPB-ND | 1.8 | 16.2 | 10 pieces | Used in sample-and-hold example of Chapter 12N.7 | Octopart Listing
LT1215, Dual Op Amp, High Speed (23MHz GBW) | 8 pin DIP | 1 | ADC | LT1215CN8#PBF | Digikey | LT1215CN8#PBF-ND | 7.77 | 70.17 | 10 pieces |  | Octopart Listing
LTC1150, Op Amp, Low Offset Voltage, Zero Drift | 8 pin DIP | 1 | ADC | LTC1150CN8#PBF | Digikey | LTC1150CN8#PBF-ND | 10.72 | 96.8 | 10 pieces | Used in integrator lab | Octopart Listing | ADI
LT6020, Op Amp, Low Offset Voltage | 8 pin MSOP | 1 | ADC | LT6020HMS8#PBF | Digikey | LT6020HMS8#PBF-ND | 8.43 | 76.15 | 10 pieces | Used in instrumentation amplifier lab | Octopart Listing
INTEGRATED CIRCUITS: COMPARATORS
LM311 Comparator, Bipolar | 8 pin DIP | 1 | Texas Inst | LM311P | Digikey | 296-1389-5-ND | 0.48 | 9.5 | 25 pieces |  | Octopart Listing
TLC372, Dual Comparator, CMOS, single supply | 8 pin DIP | 1 | Texas Inst | TLC372CP | Digikey | 296-1845-5-ND | 1.13 | 24 | 25 pieces |  | Octapart Listing
INTEGRATED CIRCUITS: VOLTAGE REGULATORS
LM317T, Voltage Regulator, Adjustable, 1.5A, Linear, 3-Terminal | TO220 | 1 | TI/ST Micro | LM317T-DG | Digikey | 497-12403-ND | 0.82 | 17.25 | 25 pieces |  | Octopart Listing
LM385-2.5, Voltage Reference Diode (Shunt Regulator), 2.5V | TO92 | 1 | Texas Inst | LM385BZ-2.5/NOPB | Digikey | LM385BZ-2.5NS/NOPB-ND | 1.35 | 28.5 | 25 pieces |  | Octopart Listing | Texas Inst
78L05, Voltage Regulator, 5V, 100mA, Linear | TO92 | 1 | ST Micro | L78L05ACZ | Digikey | 497-2952-ND | 0.45 | 8.25 | 25 pieces |  | Octopart Listing
LT1073, Voltage Regulator, Adjustable, 1.5A, Switching, Buck/Boost | 8 pin DIP | 1 | ADC | LT1073CN8-5#PBF | Digikey | LT1073CN8-5#PBF-ND | 8.69 | 78.4 | 10 pieces |  | Octopart Listing
INTEGRATED CIRCUITS: OTHER
DG403, Analog Switch, Dual DPST | 16 pin DIP | 1 | Vishay | DG403DJ-E3 | Digikey | DG403DJ-E3-ND | 2.8 | 25.1 | 10 pieces | Also available from Analog Devices at a higher price. | Octopart Listing
LMC555, Timer/Oscillator | 8 pin DIP | 1 | Texas Inst | LMC555CN/NOPB | Digikey | LMC555CN/NOPB-ND | 1.35 | 28.5 | 25 pieces |  | Octopart Listing
MAX294, Switched- Capacitor Low Pass Filter | 8 pin DIP | 1 | ADC | MAX294CSA | Digikey | 2156-MAX294CSA-ND | 6.79 |  |  |  | Octopart Listing
LM4667, Audio Amplier, 1.5W, Switching (Class D ) | VSSOP | 1 | Texas Inst | LM4667MM/NOPB | Digikey | LM4667MM/NOPBCT-ND | 1.34 | 11.96 | 10 pieces | Requires MSOP-10 to DIP Adapter (Proto Advantage PA0027 - Digikey PA0027-ND $4.09) | Octopart Listing | Texas Inst
LT1167, Instrumentation Amplifier | 8 pin DIP | 1 | ADC | LT1167IN8#PBF | Digikey | LT1167IN8#PBF-ND | 11.61 | 104.9 | 10 pieces |  | Octopart Listing | ADC
74HC14, Hex Schmidt Trigger Inverter | 14 pin DIP | 1 | Toshiba | TC74HC14APF | Digikey | TC74HC14APF-ND | 0.4 | 7.5 | 25 pieces |  | Octapart Listing
AD630, Balanced Modulator/Demodulator (see notes) | 20 pin DIP |  | ADC | AD630JNZ | Digikey | 505-AD630JNZ-ND | 41.9 | 390.98 | 10 pieces | Optional IC modulator/demodulator for lock-in lab. | Octopart Listing
OPTICAL
#47 Lamp, Incandescent, 6.3V, 0.15A | T-3 1/4 | 2 | Visual Comm. | 47 | Digikey | CM47-ND | 1.28 | 8.1 | 10 pieces | Available from multiple manufacturers. | Mouser | Newark
#344 Lamp, Incandescent, 10V, 0.014A | T-3 1/4 | 1 | JKL Comp | 344 | onlinecomp |  |  | 118 | 20 pieces | Sustitute #7344 (same lamp with bi-pin base) for single qty purchase. | Octopart Listing | Octopart (#7344)
LED, HLMP-3950, Green, 5mm, High Efficiency | T-3 1/4 | 4 | Broadcom | HLMP-3950 | Digikey | 516-1347-ND | 0.72 | 31.3 | 100 pieces | Max 30mA forward curent |  | Newark
LED, HLMP4700, Red, 5mm, low current, 7.5mA Vf(max) | T-3 1/4 | 4 | Everlight | HLMP4700 | Digikey | 1080-1061-ND | 0.27 | 10 | 100 pieces | Max 7.5mA forward curent | Mouser | Newark
LED, Yellow, High Brightness | T-3 1/4 |  | Cree | C566C-AFF-CU0W0252 | Digikey | C566C-AFF-CU0W0252CT-ND | 0.19 | 15.61 | 100 pieces | Other 5mm Yellow LEDs may be substituted | Octopart Listing
LED, Blue, Wide Angle | T-3 1/4 |  | Lite-On | LTL1CHTBK4 | Digikey | 160-1602-ND | 0.28 | 10.08 | 100 pieces | Replacement for LNG995PFBW. (Other 30mA max, 30 degree blue LEDs may be used.)
LED, TSTS7100, IR Emitter, 950nm, 250mA | TO18 | 1 | Vishay | TSTS7100 | Digikey | TSTS7100-ND | 3.55 | 25.12 | 10 pieces
LED, SFH4554, IR Emitter, 850nm, 100mA | T-3 1/4 | 1 | OSRAM | SFH 4554 | Digikey | 475-SFH4554-ND | 0.76 | 4.96 | 10 pieces |  | Octopart Listing
Phototransistor, BPV11, 850nm, 5mm | T-3 1/4 | 1 | Vishay | BPV11 | Digikey | 751-1003-ND | 1.1 | 7.2 | 10 pieces |  | Octopart Listing
Phototransistor, QSD123/124, 880nm, 5mm | T-3 1/4 | 1 | Onsemi | QSD123 | Digikey | QSD123-ND | 0.77 | 33.62 | 100 pieces | Either QSD123 or QSD124 may be used | Octopart Listing
MISC
Heatsink, Aluminum, TO-92, Slip On | Fits TO-92 | 1 | Avid/Boyd | 575200B00000G | Digikey | HS251-ND | 1.79 | 42.25 | 25 pieces |  | Octopart Listing
DC Hobby Motor, 3V-12V |  | 1 | Adafruit | 711 | Digikey | 1528-1150-ND | 1.95 |  |  | Any small DC motor will do. They are plentiful on eBay and Amazon. The Adafruit part is rated for 4.5-9V which is fine. | Adafruit
Meter Movement, Analog, 1mA FS |  | 1 |  | 85C1-A | Amazon |  | 5.94 |  |  | Add two back-to-back 1N400X diodes across rear terminals to protect against overvoltage. | Google
Strain Gauge, 4 Wire, 1Kg |  | 1 | Adafruit | 4540 | Digikey | 1528-4540-ND | 3.95 |  |  | Also called a Load Cell. Available from multiple sources | Adafruit | Octopart Listing
HX711 Load Cell Sensor Module, SPI Output |  | see notes | Sparkfun | SEN-13879 | Digikey | 1568-1436-ND | 10.95 |  |  | Optional experiment using Arduino in instrumentation amplifier lab. You can buy this module with the load cell on Amazon. | Sparkfun | Octopart Listing
RESISTORS
Resistors, 1/4W, 5%, carbon comp or carbon film (carbon comp are easier to read) | Axial | see notes | Various |  | Digikey |  |  |  |  | It is tedious to buy each value separately. | Octopart Listing | Adafruit (single values)
10, 27, 47, 82, 100, 120, 180, 220, 240, 270, 330, 390, 470, 560, 620, 680, 750, 820 Ohms | [9 empty] | It makes more sense to buy a resistor kit with many values such as this one with 50 different values from 1 Ohm to 10M Ohms for $16
1k, 1.2k, 1.5k, 1.8k , 2k, 2.2k 2.7k, 3.3k, 3.9k, 4.7k, 5.6k, 6.2k, 6.8k, 7.5k, 8.2k Ohms | [9 empty] | Try to stick with 5% tolerance if you can as it reduces the values available (and makes you think about tolerance when you design your circuits).
10k, 11k, 12k, 15k, 20k, 22k, 33k, 47k, 56k, 62k, 68k, 82k Ohms | [9 empty] | (We might have missed a value you need in our list so buying a kit helps there as well.)
100k, 120k, 220k, 330k, 470k, 560k, 1M Ohms
3.3M Ohms | Axial | 1 | Yageo | CFR-25JB-52-3M3 | Digikey | 4.7MQBK-ND | 0.09 | 1 | 25 pieces | Many kits only go up to 1M Ohm. If you cannot find a kit with larger values, you can buy these values separately. | Octopart Listing
10M Ohms | Axial | 1 | Yageo | CFR-25JB-52-10M | Digikey | 10MQBK-ND | 0.09 | 1 | 25 pieces |  | Octopart Listing
Power Resistor, 10 Ohm, 25W | Axial | 1 | TE Conn. | HSA2510RJ | Digikey | A102130-ND | 4.14 | 37.38 | 10 pieces | Two required.
Resistor, 10k, 1/4W, 1%, Metal Film | Axial | 6 | Yageo | MFR-25FBF52-10K | Digikey | 10.0KXBK-ND | 0.1 | 1.96 | 100 pieces | Available from many manufacturers. Used in instrumentation amplifier lab. | Octopart Listing
Resistor, 100k, 1/4W, 1%, Metal Film | Axial | 6 | Yageo | 100KXBK-ND | Digikey | 100KXBK-ND | 0.1 | 1.96 | 100 pieces | Available from many manufacturers. Used in instrumentation amplifier lab. | Octopart Listing
POTENTIOMETERS
Trimpot, Single Turn, 1k, 1/2W, w/knob | PCB pins | 1 | Bourns | 3386P-1-103TLF | Digikey | 3386P-103TLF-ND | 2.62 | 51.7 | 25 pieces |  | Octopart Listing
Trimpot, Multi-Turn, 2k, 1/4W, w/knob | PCB pins |  | Bourns | 64WR2KLF | Digikey | 987-1065-ND | 2.63 | 51.86 | 25 pieces | Used in instrumentation lab. | Octopart Listing
Trimpot, Single Turn, 10k, 1/2W, w/knob | PCB pins | 1 | SparkFun | COM-09806 | Digikey | 1568-1616-ND | 1.08 |  |  | A more expensive equivalent ($2.24 at Digikey) | Octopart Listing | SparkFun | Adafruit
Trimpot, Single Turn, 15k, 1/2W, screwdriver adjust | PCB pins | 1 | Bourns | 3386F-1-153LF | Mouser | 652-3386F-1-153LF | 1.6 | 9.79 | 10 Pieces | Used in the current mirror lab. A 20k timmer can be substituted. | Octopart Listing
Trimpot, Single Turn, 100k, 1/2W, w/knob | PCB pins | 1 | Bourns | 3386P-1-104TLF | Digikey | 3386P-1-104TLF-ND | 2.62 | 51.7 | 25 pieces |  | Octopart Listing
Trimpot, Single Turn, 1M, 1/2W, w/knob | PCB pins | 1 | Bourns | 3386P-1-105TLF | Digikey | 3386P-1-105TLF-ND | 2.62 | 51.7 | 25 pieces |  | Octopart Listing
Potentiometer, Motor Driven |  | 1 | Alps Alpine | RK16812MG099 | Mouser | 688-RK16812MG099 | 20.75 | 189.5 | 10 pieces | Cheaper in single quantity here (but not sure about shipping costs.) | Octopart Listing
CAPACITORS | [9 empty] | Search for "capacitor kit ceramic/poly/tantalum/electrolytic" on Amazon or eBay
10pF, 68pF, 100pF, 220pF, 330pF, 470pF, 560pF (Ceramic, 25V min, +/-10%) | Radial |  | Kemet | CK05BX100K | Digikey | 1001-2001-ND | 0.98 | 33.48 | 50 pieces | Any 25V or higher ceramic capacitor should work. Part number is for 10pF. Replace "100" to search for other values. Again a kit makes more sense. | Digikey
100nF (Ceramic, 250V, +/-10%) | Radial |  | Panasonic | ECQ-E2104KF | Digikey | EF2104-ND | 0.39 | 16.33 | 100 pieces | Any 25V or higher ceramic capacitor should work.
0.001uF (Metalized Polyester, 100V min, +/-10%) | Radial |  | Kemet | R82EC1100SH50J | Digikey | 399-11751-ND | 0.3 | 6.81 | 50 pieces | Other polyester or polypropylene capacitors should work. | Digikey
0.01uF (Metalized Polyester, 100V min, +/-10%) |  |  | Cornell Dubilier | 150103K630BB | Digikey | 338-3275-ND | 1.75 | 14.17 | 10 pieces | Other polyester or polypropylene capacitors should work. | Digikey
0.1uF (Metalized Polyester, 100V min, +/-10%) |  |  | Cornell Dubilier | 104MPW160K | Digikey | 1572-1637-ND | 0.96 | 30.27 | 50 pieces | Other polyester or polypropylene capacitors should work. This one is a bit cheaper. | Digikey
0.22uF (Metalized Polyester, 400V min, +/-10%) |  |  | Cornell Dubilier | 224MWR400K | Digikey | 224MWR400K-ND | 1.19 | 40.57 | 50 pieces | Other polyester or polypropylene capacitors should work. | Digikey
0.33uF (Metalized Polyester, 35V min, +/-10%) | Radial |  | Kemet | R82DC3330AA60J | Digikey | 399-5906-ND | 0.42 | 10.32 | 50 pieces | Other polyester or polypropylene capacitors should work. | Digikey
1uF (Metalized Polyester, 35V min, +/-10%) | Radial |  | Kemet | R82EC4100Z370K | Digikey | 399-12645-ND | 0.8 | 25.37 | 50 pieces | Other polyester or polypropylene capacitors should work. | Digikey
4.7uF (Tantalum, 20V min, +/-10%) | Radial |  | Kyocera | TAP475K035SCS | Digikey | 478-1907-ND | 0.75 | 22.06 | 50 pieces | Other tantalum capacitors should work. | Digikey
10uF (Tantalum, 35Vmin, +/-10%) | Radial |  | Kyocera | TAP106M035SCS | Digikey | 478-6062-ND | 0.64 | 18.81 | 50 pieces | Other tantalum capacitors should work. | Digikey
15uF (Tantalum, 20V min, +/-10%) | Radial |  | Kyocera | TAP156K025SCS | Digikey | 478-1859-ND | 1.09 | 37.34 | 50 pieces | Other tantalum capacitors should work. | Digikey
100uF (Tantalum, 20V min, +/-10%) | Radial |  | Kyocera | TAP107K020HSB | Digikey | 478-9332-ND | 1.95 | 68.79 | 50 pieces | Other tantalum capacitors should work. | Digikey
100uF (Electrolytic, 35V min, +/-20) | Radial |  | Rubycon | 35ZLH100MEFC6.3X11 | Digikey | 1189-1300-ND | 0.35 | 8.07 | 50 pieces | Used for bypass. Other electrolytic capacitors should work.
100uF (Polymer Aluminum Electrolytic, 16V, +/-20% Low ESR) | Radial | 1 | Panasonic | 16SEPC100MW | Mouser | 667-16SEPC100MW | 1.31 | 45.1 | 50 pieces | Used in switching voltage regulator lab. Other low ESR aluminum polymer capacitors should work. | Octopart

## Sheet1
LAB 1 | LAB 2 | LAB 3 | LAB 4 | LAB 5 | LAB 6 | LAB 7 | LAB 8 | LAB 9 | LAB 10 | LAB 11 | LAB 12 | LAB 13
15k | 100pF | 10mH | 2N3904 | 3096 array | LF411 | 10M | LM311 | 8.2k | motor-pot | LM385-2.5 | IRLZ34 or BUK9509-40B | TSTS7100
7.5k | .01uF | .01 mylar | 270 ohm | 100 ohm | 10k pot | 22k | 4.7k | 82k | 6.8k | LM6482 |  | QSD124
1N914 | 100 ohm | 100k | 3.3k | 27 ohm | 10k pot | 10k pot | 74HC14 | .001uF | 270 ohm | VP01 (optional) | #47 lamp (6V, 0.15A)
100k pot | 10k | 2.2k | 33k | 1N5294 | 1k | LM741 | TLC372 | 3.9k | 470pF | IR-LIB9343PBF (opt) | 100 ohm
1k | 15k | 560pF | 4.7uF | 330 ohm | 15k | LM358 | DC motor | 4.3k or 4.7k | 1M pot | 78L05 | DG403
1mA meter movement | 6.3V xformer | 2k | 470 ohm | 62k | .1uF | electret mic | LMC7555 (CMOS p341) | 2.2k or 2.3k |  | TO-92 heatsink | 1uF
| 1k |  | 820 ohm | 1.5k | 100k pot | 4.7uF | #344 lamp | 6.8k |  | 120 ohm | 330pF
|  |  | 10k pot |  | MJE2955 | 3.3M | 560 ohm | 8 ohm speaker |  | .01 ceramic | MAX294
|  |  | 56k |  | 390 ohm | 1M |  |  |  | LM317 | LM4667
|  |  | 5.6k |  | BPV11 | 1.2k |  |  |  | 240 ohm | .33uF
|  |  | 7.5k |  | 10M | >15uF |  |  |  | 4.7uF
|  |  | 750 |  | 100k pot |  |  |  |  | 1N752 (5.6V zener)
|  |  | 15uF |  | 180 ohm |  |  |  |  | 100 ohm
|  |  | .33uF |  | 2.7k |  |  |  |  | SCR
|  |  | #47 lamp |  | 12k |  |  |  |  | LT1073
|  |  | MJE3055 |  | BS250 MOSFET |  |  |  |  | 1K 1W pot
|  |  | 470 ohm |  | 2N3906
10 ohm 2.5W
10mH